## SUMMARY
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
PROJECT NAME: |  | LANDSCAPING SAMPLE
LOCATION: |  | 0 |  | TOTAL AREA(SF) |  | 3500 | Area May Vary
Sr # | REFERENCE | DESCRIPTION |  |  | TOTAL COST | $COST/SF | 1573.4377
DIVISION WISE SUMMARY | [6 empty] | #REF!
CSI DIVISIONS
1 |  | 01-General Conditions |  |  | 0 | 0
2 |  | 02-Demolition Of Existing Items |  |  | #REF! | #REF!
3 |  | 03-Concrete |  |  | #REF! | #REF!
4 |  | 04-Masonry |  |  | #REF! | #REF!
5 |  | 05-Metals |  |  | #REF! | #REF!
6 |  | 06-Wood, Plastics & Composites |  |  | #REF! | #REF!
7 |  | 07-Thermal & Moisture Protection |  |  | #REF! | #REF!
8 |  | 08-Openings |  |  | #REF! | #REF!
9 |  | 09-Finishes |  |  | #REF! | #REF!
10 |  | 10-Specialites |  |  | #REF! | #REF!
11 |  | 11-Equipment |  |  | #REF! | #REF!
12 |  | 12-Furnishings |  |  | #REF! | #REF!
13 |  | 13-Special Construction |  |  | #REF! | #REF!
14 |  | 14-Conveying Equipment |  |  | #REF! | #REF!
15 |  | 21-Fire Supression |  |  | #REF! | #REF!
16 |  | 22-Plumbing |  |  | #REF! | #REF!
17 |  | 23-Heating, Ventilations & Air Conditioning (HVAC) |  |  | #REF! | #REF!
18 |  | 26-Electrical |  |  | #REF! | #REF!
19 |  | 31-Earthwork |  |  | #REF! | #REF!
20 |  | 32-Exterior Improvements |  |  | 4589193.2898 | 1311.1981
21 |  | 33-Utilities |  |  | #REF! | #REF!
SUB TOTAL | [6 empty] | 4589193.2898
INSURANCE |  |  | 0% |  |  |  | 0
OVERHEAD & PROFIT |  |  | 20% |  |  |  | 917838.658
CONTINGENCY |  |  | 0% |  |  |  | 0
NET TOTAL | [6 empty] | 5507031.9478

## BASEBID
Estimate of Materials and Cost of Construction
Date:
|  |  | Project: | LANDSCAPING SAMPLE
Project Location:
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT LABOR | TOTAL LABOR | LABOR + MAT TOTAL COST | TRADE COST
|  |  | DIV-01 | GENERAL | [9 empty] | 0
INDIRECT PROJECT COSTS
1 |  |  |  | General Liability Insurance | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
2 |  |  |  | General Conditions (Backoffice Overhead) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
DIRECT PROJECT COSTS
3 |  |  |  | Bonding Fee (If required) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
4 |  |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
5 |  |  |  | Equipment Rental | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
6 |  |  |  | Travel, Tools, Gas | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
7 |  |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
8 |  |  |  | Temp. Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
9 |  |  |  | Temp. Signage and Protection | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
10 |  |  |  | Temp. Fencing | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
11 |  |  |  | Field Superintendent/Foreman (Full Time) | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
12 |  |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0
|  |  | DIV-32 | EXTERIOR IMPROVEMENTS | [9 empty] | 4589193.2898
Heavy Duty Concrete Pavement
13 |  |  |  | 9" Portland Cement Concrete Pavement W/ Reinforcement (4000 PSI) | 19616 | 10% | 21577.6 | SF | 3 | 64732.8 | 2 | 43155.2 | 107888
14 |  |  |  | 6" Compacted Subgrade | 19616 | 10% | 21577.6 | SF | 1.2 | 25893.12 | 0.8 | 17262.08 | 43155.2
Light Duty Concrete Pavement
15 |  |  |  | 5" Portland Cement Concrete Pavement W/ Reinforcement (4000 PSI) | 180851 | 10% | 198936.1 | SF | 3 | 596808.3 | 2 | 397872.2 | 994680.5
16 |  |  |  | 6" Compacted Subgrade | 180851 | 10% | 198936.1 | SF | 1.2 | 238723.32 | 0.8 | 159148.88 | 397872.2
Light Duty Standard Fire Lane Concrete Pavement
17 |  |  |  | 7" Portland Cement Concrete Pavement W/ Reinforcement (4000 PSI) | 55086 | 10% | 60594.6 | SF | 3 | 181783.8 | 2 | 121189.2 | 302973
18 |  |  |  | 6" Compacted Subgrade | 55086 | 10% | 60594.6 | SF | 1.2 | 72713.52 | 0.8 | 48475.68 | 121189.2
Sidewalk
19 |  |  |  | 4" Concrete Sidewalk W/ Reinforcement (4000 PSI) | 4399 | 10% | 4838.9 | SF | 6 | 29033.4 | 4 | 19355.6 | 48389
20 |  |  |  | 3.5" Compacted Gravel Base | 4399 | 10% | 4838.9 | SF | 2 | 9677.8 | 1 | 4838.9 | 14516.7
21 |  |  |  | Compacted Subgrade | 4399 | 10% | 4838.9 | SF | 1.2 | 5806.68 | 0.8 | 3871.12 | 9677.8
Ramp
22 |  |  |  | 4" Concrete Ramp W/ Reinforcement (4000 PSI) | 224 | 10% | 246.4 | SF | 6 | 1478.4 | 4 | 985.6 | 2464
23 |  |  |  | 3.5" Compacted Gravel Base | 224 | 10% | 246.4 | SF | 2 | 492.8 | 1 | 246.4 | 739.2
24 |  |  |  | Compacted Subgrade | 224 | 10% | 246.4 | SF | 1.2 | 295.68 | 0.8 | 197.12 | 492.8
Concrete Pad
25 |  |  |  | 12" Concrete Pad W/ Reinforcement | 266 | 10% | 292.6 | SF | 6 | 1755.6 | 4 | 1170.4 | 2926
26 |  |  |  | Compacted Subgrade | 266 | 10% | 292.6 | SF | 1.2 | 351.12 | 0.8 | 234.08 | 585.2
Concrete Pavement
27 |  |  |  | 6" Concrete Pavement W/ Reinforcement (4000 PSI) | 2001 | 10% | 2201.1 | SF | 6 | 13206.6 | 4 | 8804.4 | 22011
28 |  |  |  | 6" Compacted Subgrade | 2001 | 10% | 2201.1 | SF | 1.2 | 2641.32 | 0.8 | 1760.88 | 4402.2
Truncated Domes
29 |  |  |  | Truncated Domes Plate | 151 | 10% | 166.1 | SF | 3 | 498.3 | 2 | 332.2 | 830.5
Curb
30 |  |  |  | 6" Containment Curb | 209 | 10% | 229.9 | LF | 20 | 4598 | 10 | 2299 | 6897
Chain-link Fence
31 |  |  |  | Chain-link Fence (10' H) | 70 | 10% | 77 | LF | 15 | 1155 | 10 | 770 | 1925
Footing
32 |  |  |  | (1'-3" Diax3'-0") Concrete Fence Footing W/ Reinforcement (8 EA) | 1.09 | 10% | 1.199 | CY | 300 | 359.7 | 100 | 119.9 | 479.6
33 |  |  |  | (1'-6" Diax3'-0") Concrete Bollards Footing W/ Reinforcement (35 EA) | 6.87 | 10% | 7.557 | CY | 300 | 2267.1 | 100 | 755.7 | 3022.8
34 |  |  |  | (1'-6" Diax3'-0") Concrete Sign Footing W/ Reinforcement (4 EA) | 3.9257 | 10% | 4.3183 | CY | 300 | 1295.4857 | 100 | 431.8286 | 1727.3143
Generator
35 |  |  |  | Generator (350 KW) | 1 | 0% | 1 | EA | 25000 | 25000 | 10000 | 10000 | 35000
36 |  |  |  | Generator (500 KW) | 1 | 0% | 1 | EA | 35000 | 35000 | 15000 | 15000 | 50000
Bollards
37 |  |  |  | 10" Dia Steel Pipe Bollards W/ 3/4" Steel Base Plate (5' H) | 10 | 0% | 10 | EA | 300 | 3000 | 100 | 1000 | 4000
38 |  |  |  | 6" Dia Steel Pipe Bollards W/ 3/4" Steel Base Plate (5' H) | 25 | 0% | 25 | EA | 250 | 6250 | 100 | 2500 | 8750
Sign
39 |  |  |  | Parking/ ADA Parking Sign (10' H) | 23 | 0% | 23 | EA | 150 | 3450 | 100 | 2300 | 5750
40 |  |  |  | Stop Sign | 4 | 0% | 4 | EA | 150 | 600 | 100 | 400 | 1000
Wheel Stop
41 |  |  |  | Pre-Cast Concrete Wheel Stop (7' L) | 49 | 0% | 49 | EA | 300 | 14700 | 100 | 4900 | 19600
Drain
42 |  |  |  | Trench Drain | 69 | 10% | 75.9 | LF | 10 | 759 | 4 | 303.6 | 1062.6
Curb & Gutter
43 |  |  |  | 30"x12.5" Concrete Curb & Gutter | 8570 | 10% | 9427 | LF | 20 | 188540 | 10 | 94270 | 282810
Site Paint
44 |  |  |  | 27" Painted "Stop" Marking | 22 | 0% | 22 | EA | 18 | 396 | 12 | 264 | 660
45 |  |  |  | Painted ADA Accessible Parking Symbol | 14 | 0% | 14 | EA | 30 | 420 | 20 | 280 | 700
46 |  |  |  | Painted Stop Pavement lettering | 1 | 0% | 1 | EA | 18 | 18 | 12 | 12 | 30
47 |  |  |  | 12" Painted Crosswalk | 739 | 10% | 812.9 | LF | 0.3 | 243.87 | 0.2 | 162.58 | 406.45
48 |  |  |  | 12" Painted Stop Bar | 224 | 10% | 246.4 | LF | 0.3 | 73.92 | 0.2 | 49.28 | 123.2
49 |  |  |  | 4" Painted Parking Stripes | 9235 | 10% | 10158.5 | LF | 0.3 | 3047.55 | 0.2 | 2031.7 | 5079.25
Retaining Wall
50 |  |  |  | (10'-6"x15'-6") Masonry Base | 423.0897 | 10% | 465.3987 | CY | 100 | 46539.8694 | 50 | 23269.9347 | 69809.8042
51 |  |  |  | (17'-2"x13'-3") Stone Base | 1869.7393 | 10% | 2056.7132 | CY | 100 | 205671.323 | 50 | 102835.6615 | 308506.9845
52 |  |  |  | (12'-4"x3'-9") Stone Base | 120.2004 | 10% | 132.2204 | CY | 100 | 13222.0413 | 50 | 6611.0206 | 19833.0619
53 |  |  |  | (1'-4"x1'-3") Stone Base | 9.0255 | 10% | 9.9281 | CY | 100 | 992.8081 | 50 | 496.404 | 1489.2121
54 |  |  |  | (3'-9"x1'-3") Stone Base | 92.2205 | 10% | 101.4425 | CY | 100 | 10144.2535 | 50 | 5072.1267 | 15216.3802
55 |  |  |  | (4'-3"x1'-6") Stone Base | 28.2932 | 10% | 31.1225 | CY | 100 | 3112.2514 | 50 | 1556.1257 | 4668.3771
56 |  |  |  | (5'-11"x3'-7") Stone Base | 92.0654 | 10% | 101.2719 | CY | 100 | 10127.1928 | 50 | 5063.5964 | 15190.7892
57 |  |  |  | (5'-3"x3'-3") Stone Base | 335.5878 | 10% | 369.1466 | CY | 100 | 36914.6556 | 50 | 18457.3278 | 55371.9833
58 |  |  |  | (5'-4"x1'-6") Stone Base | 133.4839 | 10% | 146.8323 | CY | 100 | 14683.2321 | 50 | 7341.616 | 22024.8481
59 |  |  |  | (8'-9"x5'-7") Stone Base | 804.9523 | 10% | 885.4476 | CY | 100 | 88544.7562 | 50 | 44272.3781 | 132817.1342
60 |  |  |  | (9'-8"x3'-0") Stone Base | 238.5589 | 10% | 262.4148 | CY | 100 | 26241.479 | 50 | 13120.7395 | 39362.2185
61 |  |  |  | 13'-4"x3'-0" Masonry Top | 328.8511 | 10% | 361.7362 | CY | 100 | 36173.621 | 50 | 18086.8105 | 54260.4315
62 |  |  |  | 17'-6"x3'-9" Masonry Top | 170.6007 | 10% | 187.6608 | CY | 100 | 18766.0764 | 50 | 9383.0382 | 28149.1146
63 |  |  |  | 5'-3"x1'-3" Masonry Top | 128.4403 | 10% | 141.2843 | CY | 100 | 14128.4306 | 50 | 7064.2153 | 21192.6458
64 |  |  |  | 12"x12" Masonry Curb | 26.7133 | 10% | 29.3847 | CY | 100 | 2938.4667 | 50 | 1469.2333 | 4407.7
65 |  |  |  | 12" Masonry Retaing Wall | 72.7896 | 10% | 80.0686 | CY | 100 | 8006.8593 | 50 | 4003.4296 | 12010.2889
66 |  |  |  | 15" Masonry Retaing Wall | 312 | 10% | 343.2 | CY | 100 | 34320 | 50 | 17160 | 51480
67 |  |  |  | 16" Masonry Retaing Wall | 14.4408 | 10% | 15.8849 | CY | 100 | 1588.4929 | 50 | 794.2464 | 2382.7393
68 |  |  |  | 18" Masonry Retaing Wall | 126 | 10% | 138.6 | CY | 100 | 13860 | 50 | 6930 | 20790
69 |  |  |  | 36" Masonry Retaing Wall | 814 | 10% | 895.4 | CY | 100 | 89540 | 50 | 44770 | 134310
70 |  |  |  | 45" Masonry Retaing Wall | 263.2125 | 10% | 289.5337 | CY | 100 | 28953.375 | 50 | 14476.6875 | 43430.0625
71 |  |  |  | 6'-8" W. Masonry Retaining Wall | 1559.0656 | 10% | 1714.9721 | CY | 100 | 171497.2119 | 50 | 85748.606 | 257245.8179
72 |  |  |  | (2'-0"x6'-6") Tighgtily Fitted Stone Fiil | 255.1996 | 10% | 280.7196 | CY | 100 | 28071.9593 | 50 | 14035.9796 | 42107.9389
73 |  |  |  | (2'-1"x6'-0") Tighgtily Fitted Stone Fiil | 53.5241 | 10% | 58.8765 | CY | 100 | 5887.6473 | 50 | 2943.8237 | 8831.471
74 |  |  |  | (7'-6"x20'-0") Tighgtily Fitted Stone Fiil | 389.9444 | 10% | 428.9389 | CY | 100 | 42893.8889 | 50 | 21446.9444 | 64340.8333
75 |  |  |  | (11'-5"x14'-0") Tighgtily Fitted Stone Fiil | 1313.5953 | 10% | 1444.9548 | CY | 100 | 144495.4793 | 50 | 72247.7397 | 216743.219
76 |  |  |  | 12" Clean Gravel Draining Rock | 175 | 10% | 192.5 | CY | 100 | 19250 | 50 | 9625 | 28875
77 |  |  |  | 24" Clean Gravel Draining Rock | 357.1578 | 10% | 392.8736 | CY | 100 | 39287.3556 | 50 | 19643.6778 | 58931.0333
Irrigation
78 |  |  |  | Hunter MP Corner PROS-04-PRS40-CV Turf Rotator, 4in. pop-up with factory installed check valve, pressure regulated to 40 psi, MP Rotator nozzle. T=Turquoise adj arc 45-105 on PRS40 body. | 2 | 0% | 2 | EA | 25 | 50 | 15 | 30 | 80
79 |  |  |  | Hunter MP Strip PROS-04-PRS40-CV Turf Rotator, 4in. pop-up with factory installed check valve, pressure regulated to 40 psi, MP Rotator nozzle on PRS40 body. LST=Ivory left strip, SST=Brown side strip, RST=Copper right strip. | 144 | 0% | 144 | EA | 25 | 3600 | 15 | 2160 | 5760
80 |  |  |  | Hunter MP1000 PROS-04-PRS40-CV Turf Rotator, 4in. pop-up with check valve, pressure regulated to 40 psi, MP Rotator nozzle on PRS40 body. M=Maroon adj arc 90 to 210, L=Light Blue 210 to 270 arc, O=Olive 360 arc. | 411 | 0% | 411 | EA | 25 | 10275 | 15 | 6165 | 16440
81 |  |  |  | Hunter MP2000 PROS-04-PRS40-CV Turf Rotator, 4in. pop-up with factory installed check valve, pressure regulated to 40 psi, MP Rotator nozzle on PRS40 body. K=Black adj arc 90-210, G=Green adj arc 210-270, R=Red 360 arc | 162 | 0% | 162 | EA | 25 | 4050 | 15 | 2430 | 6480
82 |  |  |  | Toro 570S-FB-PC Pressure-Compensating Flood Bubbler Nozzle on 570S Fixed Riser. 0.25 GPM, 0.5 GPM, 1.0 GPM, and 2.0 GPM | 138 | 0% | 138 | EA | 18 | 2484 | 12 | 1656 | 4140
83 |  |  |  | Netafim LVCZ10075-HFHP Pre-Assembled Control Zone Kit, with 1in. Series 80 Control Valve, 3/4in. Disc Filter, and High Flow Pressure Regulator 4.5GPM to 17.6GPM. | 4 | 0% | 4 | EA | 150 | 600 | 100 | 400 | 1000
84 |  |  |  | Area to Receive Dripline Netafim TLCV-026-12 Techline Pressure Compensating Landscape Dripline with Check Valve. 0.26 GPH emitters at 12" O.C. Dripline laterals spaced at 12" apart, with emitters offset for triangular pattern. 17mm | 7516 | 10% | 8267.6 | LF | 5 | 41338 | 3 | 24802.8 | 66140.8
85 |  |  |  | Hunter ICV-G 1in., 1-1/2in., 2in., and 3in. Plastic Electric Remote Control Valves, Globe Configuration, with NPT Threaded Inlet/Outlet, for Commercial/Municipal Use. | 21 | 0% | 21 | EA | 210 | 4410 | 100 | 2100 | 6510
86 |  |  |  | Locking Gate Valve | 1 | 0% | 1 | EA | 200 | 200 | 100 | 100 | 300
87 |  |  |  | Hunter ICV-G 1" 1in., 1-1/2in., 2in., and 3in. Plastic Electric Master Valve, Globe Configuration, with NPT Threaded Inlet/Outlet, for Commercial/Municipal Use. | 1 | 0% | 1 | EA | 200 | 200 | 100 | 100 | 300
88 |  |  |  | Febco 850 1" Double Check Backflow prevention, 2in. | 1 | 0% | 1 | EA | 350 | 350 | 120 | 120 | 470
89 |  |  |  | Hunter I2C-1600-PP 16 Station Outdoor Modular Controller. With one ICM-800 Module. Commercial Use. Plastic Pedestal. | 1 | 0% | 1 | EA | 180 | 180 | 100 | 100 | 280
90 |  |  |  | Hunter WRF-CLIK Rain/freeze Sensor, install within 1000 ft of controller, in line of sight. 22-28 VAC/VDC 100 mA power from timer transformer. Mount as noted. Includes Gutter Mount. | 1 | 0% | 1 | EA | 150 | 150 | 100 | 100 | 250
91 |  |  |  | Hunter HFS-200 Flow Sensor for use with ACC controller, 1.5in. Schedule 40 Sensor Body, 24 VAC, 2 amp. | 1 | 0% | 1 | EA | 150 | 150 | 100 | 100 | 250
92 |  |  |  | Water Meter 3" | 1 | 0% | 1 | EA | 700 | 700 | 300 | 300 | 1000
Pipes
93 |  |  |  | Irrigation Lateral Line: PVC Class 200 SDR 21 | 23.6 | 10% | 25.96 | LF | 5 | 129.8 | 3 | 77.88 | 207.68
94 |  |  |  | Irrigation Mainline: PVC Class 200 SDR 21 | 23.6 | 10% | 25.96 | LF | 5 | 129.8 | 3 | 77.88 | 207.68
Sleeve
95 |  |  |  | Pipe Sleeve: PVC Schedule 40 Typical pipe sleeve for irrigation pipe. Pipe sleeve size shall allow for irrigation piping and their related couplings to easily slide through sleeving material. Extend sleeves 18 inches beyond edges of paving or construction. | 23.9 | 10% | 26.29 | LF | 3 | 78.87 | 2 | 52.58 | 131.45
Landscape
Tree
96 |  |  |  | Maidenhair Tree | 22 | 0% | 22 | EA | 320 | 7040 | 120 | 2640 | 9680
97 |  |  |  | Kentucky Coffeetree | 15 | 0% | 15 | EA | 310 | 4650 | 120 | 1800 | 6450
98 |  |  |  | Shumard Red Oak | 16 | 0% | 16 | EA | 300 | 4800 | 120 | 1920 | 6720
99 |  |  |  | Bald Cypress | 17 | 0% | 17 | EA | 290 | 4930 | 120 | 2040 | 6970
100 |  |  |  | American Elm | 14 | 0% | 14 | EA | 280 | 3920 | 120 | 1680 | 5600
Ornamental Tree
101 |  |  |  | Yaupon Holly | 5 | 0% | 5 | EA | 325 | 1625 | 120 | 600 | 2225
102 |  |  |  | Crape Myrtle | 46 | 0% | 46 | EA | 290 | 13340 | 120 | 5520 | 18860
Shrubs
103 |  |  |  | Kaleidoscope Glossy Abelia | 107 | 0% | 107 | EA | 35 | 3745 | 20 | 2140 | 5885
104 |  |  |  | Red Yucca | 112 | 0% | 112 | EA | 40 | 4480 | 20 | 2240 | 6720
105 |  |  |  | Turk`s Cap | 107 | 0% | 107 | EA | 45 | 4815 | 20 | 2140 | 6955
Grasses
106 |  |  |  | Mexican Feather Grass | 51 | 0% | 51 | EA | 25 | 1275 | 15 | 765 | 2040
Ground Cover
107 |  |  |  | SOD Common Bermuda Grass | 48969 | 10% | 53865.9 | SF | 0.5 | 26932.95 | 0.3 | 16159.77 | 43092.72
108 |  |  |  | SEED Common Bermuda Grass | 76828 | 10% | 84510.8 | SF | 0.3 | 25353.24 | 0.2 | 16902.16 | 42255.4
Landscape
109 |  |  |  | 4" Hardwood Mulch -Filter Fabric | 16084.44 | 10% | 17692.884 | SF | 0.5 | 8846.442 | 0.3 | 5307.8652 | 14154.3072
110 |  |  |  | 3/16"x6" Black Steel Edging | 114.61 | 10% | 126.071 | LF | 5 | 630.355 | 3 | 378.213 | 1008.568
111 |  |  |  | DG: Decomposed Granite | 223.35 | 10% | 245.685 | SF | 2 | 491.37 | 1 | 245.685 | 737.055
Dry Utilities
Conduits
112 |  |  |  | (3) 1-1/2" & (1) 1" Conduit | 3119.29 | 10% | 3431.219 | LF | 3 | 10293.657 | 2 | 6862.438 | 17156.095
113 |  |  |  | 6" Electrical Conduit | 552.08 | 10% | 607.288 | LF | 4.5 | 2732.796 | 3.5 | 2125.508 | 4858.304
114 |  |  |  | (3) 2" Communication Conduits | 718.57 | 10% | 790.427 | LF | 4.5 | 3556.9215 | 3.5 | 2766.4945 | 6323.416
115 |  |  |  | (2) 4" Conduit for Telephone & (1) 2" Conduit for Cable | 468.05 | 10% | 514.855 | LF | 5 | 2574.275 | 3 | 1544.565 | 4118.84
116 |  |  |  | (2) 2" Conduits for Power to the Gas Kisok | 127.45 | 10% | 140.195 | LF | 3.5 | 490.6825 | 2.5 | 350.4875 | 841.17
117 |  |  |  | Gas Main | 463.03 | 10% | 509.333 | LF | 5 | 2546.665 | 3 | 1527.999 | 4074.664
118 |  |  |  | (2) 3" Conduit for Power & 2 (2") Conduits to Propane Station | 158.81 | 10% | 174.691 | LF | 4.5 | 786.1095 | 2.5 | 436.7275 | 1222.837
Misc.
119 |  |  |  | Proposed Gas Meter | 1 | 0% | 1 | EA | 700 | 700 | 300 | 300 | 1000
120 |  |  |  | 750 KVA Transformer -Installed By Oncor Contractor | 1 | 0% | 1 | EA | 6500 | 6500 | 1500 | 1500 | 8000
121 |  |  |  | Pull Box | 1 | 0% | 1 | EA | 150 | 150 | 100 | 100 | 250
122 |  |  |  | SG: Switch Gear | 1 | 0% | 1 | EA | 1000 | 1000 | 500 | 500 | 1500
Pole Concrete Footing (Assumed)
123 |  |  |  | (2'-6'' Dia x 6'-0'' Deep) Conrete Footing W/ Reinf | 29.4375 | 10% | 32.3813 | CY | 300 | 9714.375 | 100 | 3238.125 | 12952.5
SUB TOTAL | [12 empty] | 4589193.2898 | 4589193.2898
INSURANCE | [8 empty] | 0% |  |  |  | 0 | 0
OVERHEAD & PROFIT | [8 empty] | 20% |  |  |  | 917838.658 | 917838.658
CONTIGENCY | [8 empty] | 0% |  |  |  | 0 | 0
TOTAL BASE BID | [12 empty] | 0 | 5507031.9478
1669279.0694
4
52164.9709
2608.2485