## SUMMARY
MATERIAL TAKEOFF AND COST ESTIMATE STATEMENT
PROJECT NAME: |  | LOW VOLTAGE SAMPLE
LOCATION: |  | 0 |  | TOTAL AREA(SF) |  | 80607 | Area May Vary
Sr # | REFERENCE | DESCRIPTION |  |  | TOTAL COST | $COST/SF | 2.4454
DIVISION WISE SUMMARY | [6 empty] | 156441.098
CSI DIVISIONS
1 |  | 01-General Conditions |  |  | 0 | 0
2 |  | 28-Electronic Safety & security |  |  | 156441.098 | 1.9408
SUB TOTAL | [6 empty] | 156441.098
OVERHEAD |  |  | 10% |  |  |  | 15644.1098
PROFIT |  |  | 15% |  |  |  | 23466.1647
INSURANCE |  |  | 0% |  |  |  | 0
CONTINGENCY |  |  | 1% |  |  |  | 1564.411
NET TOTAL | [6 empty] | 197115.7835
NOTES: PRICES OF LABOR AND MATERIALS ARE TAKEN FROM ONLINE MARKET RESOURCES AND CAN DIFFER FROM LOCAL VENDOR/SUPPLIER, RESPECTED CLIENTS ARE ADVISED TO DOUBLE CHECK TO MAKE SURE THE BID IS COMPETITIVE.

## LOW VOLTAGE
Sr # | REFERENCE | DESCRIPTION | QUANTITY | WASTE | TOTAL QTY | UNIT | COST/UNIT | MATERIAL TOTAL | LABOR $/UNIT | TOTAL MANHOURS | EFFICIENCY (UNIT/HRs) | LABOR RATE | TOTAL LABOR COST | LABOR + MAT TOTAL COST | L+M UNIT COST
Units Legends; LS=Lump sum, LF=Linear Footage, CY=Cubic Yard, SF=Square Footage, EA=Count/Each
| PROJECT | LOW VOLTAGE SAMPLE
ADDRESS
01. GENERAL CONDITIONS
INDIRECT PROJECT COSTS
1 |  | General Liability Insurance | 0 | 0% | 0 | Mo | 0 | 0 | 0
2 |  | General Conditions (Backoffice Overhead) | 0 | 0% | 0 | Mo | 0 | 0 | 0
DIRECT PROJECT COSTS
3 |  | Bonding Fee (If required) | 1.15 | 0% | 1.15 | %
4 |  | Access Control (Pipe Scaffolding or Boom/Scissor Lifts) | 0 | 0% | 0 | Mo | 0 | 0 | 0
5 |  | Equipment Rental | 0 | 0% | 0 | Mo | 0 | 0 | 0
6 |  | Travel, Tools, Gas | 0 | 0% | 0 | Mo | 0 | 0 | 0
7 |  | Field Office | 0 | 0% | 0 | Mo | 0 | 0 | 0
8 |  | Temp. Facilities | 0 | 0% | 0 | Mo | 0 | 0 | 0
9 |  | Temp. Signage and Protection | 0 | 0% | 0 | Mo | 0 | 0 | 0
10 |  | Temp. Fencing | 0 | 0% | 0 | Mo | 0 | 0 | 0
11 |  | Field Superintendent/Foreman (Full Time) | 0 | 0% | 0 | Mo | 0 | 0 | 0
12 |  | Project Manager (Part Time) | 0 | 0% | 0 | Mo | 0 | 0 | 0
| 28. ELECTRONIC SAFETY & SECURITY | [10 empty] | 75 |  | 156441.098
| FA1 - FA3 | WIRES & CONDUITS
13 |  | 2#16 FPLP | 3133 | 5% | 3289.65 | LF | 0.72 | 2368.548 | 1.6 | 77.12 | 40.625 | 75 | 5784 | 8152.548 | 2.4782
14 |  | 2#14 FPLP | 3457.89 | 5% | 3630.7845 | LF | 0.78 | 2832.0119 | 1.7 | 90.4371 | 38.2353 | 75 | 6782.7842 | 9614.7961 | 2.6481
15 |  | 3/4" Conduit W/ Pullstring | 2960 | 5% | 3108 | LF | 1.2 | 3729.6 | 1.65 | 75.1385 | 39.3939 | 75 | 5635.3846 | 9364.9846 | 3.0132
| FA1 - FA3 | FIRE ALARM DEVICES
16 |  | 177cd Strobe | 14 | 0% | 14 | EA | 220 | 3080 | 280 | 60.3077 | 0.23214 | 75 | 4523.0769 | 7603.0769 | 543.0769
17 |  | Photo-Electric Smoke Detector W/ Strobe, 520 Hz | 18 | 0% | 18 | EA | 320 | 5760 | 294 | 81.4154 | 0.22109 | 75 | 6106.1538 | 11866.1538 | 659.2308
18 |  | Photo-Electric Smoke & Carbon Monoxide Detector W/ Strobe, 520 Hz | 3 | 0% | 3 | EA | 350 | 1050 | 325 | 15 | 0.2 | 75 | 1125 | 2175 | 725
19 |  | Photo-Electric Smoke & Carbon Monoxide Detector, 520 Hz | 59 | 0% | 59 | EA | 300 | 17700 | 260 | 236 | 0.25 | 75 | 17700 | 35400 | 600
20 |  | Photo-Electric Smoke Detector, 520 Hz | 93 | 0% | 93 | EA | 200 | 18600 | 145 | 207.4615 | 0.44828 | 75 | 15559.6154 | 34159.6154 | 367.3077
21 |  | Photo-Electric Smoke Detector, Elevator Recall | 5 | 0% | 5 | EA | 225 | 1125 | 160 | 12.3077 | 0.40625 | 75 | 923.0769 | 2048.0769 | 409.6154
22 |  | 15cd Horn / Strobe, 520 Hz | 17 | 0% | 17 | EA | 150 | 2550 | 100 | 26.1538 | 0.65 | 75 | 1961.5385 | 4511.5385 | 265.3846
23 |  | Pull Station | 11 | 0% | 11 | EA | 375 | 4125 | 145 | 24.5385 | 0.44828 | 75 | 1840.3846 | 5965.3846 | 542.3077
24 |  | Tamper Switch | 9 | 0% | 9 | EA | 16 | 144 | 54 | 7.4769 | 1.2037 | 75 | 560.7692 | 704.7692 | 78.3077
25 |  | Flow Switch | 8 | 0% | 8 | EA | 16 | 128 | 54 | 6.6462 | 1.2037 | 75 | 498.4615 | 626.4615 | 78.3077
26 |  | Independent Addressable Module | 21 | 0% | 21 | EA | 46 | 966 | 90 | 29.0769 | 0.72222 | 75 | 2180.7692 | 3146.7692 | 149.8462
27 |  | 30cd Strobe | 2 | 0% | 2 | EA | 170 | 340 | 120 | 3.6923 | 0.54167 | 75 | 276.9231 | 616.9231 | 308.4615
28 |  | 15cd Strobe | 6 | 0% | 6 | EA | 150 | 900 | 100 | 9.2308 | 0.65 | 75 | 692.3077 | 1592.3077 | 265.3846
29 |  | Fire Alarm Beacon | 1 | 0% | 1 | EA | 325 | 325 | 125 | 1.9231 | 0.52 | 75 | 144.2308 | 469.2308 | 469.2308
30 |  | Firefighters Key Box | 1 | 0% | 1 | EA | 325 | 325 | 125 | 1.9231 | 0.52 | 75 | 144.2308 | 469.2308 | 469.2308
31 |  | BDA Annunciator Panel | 1 | 0% | 1 | EA | 550 | 550 | 200 | 3.0769 | 0.325 | 75 | 230.7692 | 780.7692 | 780.7692
32 |  | Rath Call System Panel | 1 | 0% | 1 | EA | 750 | 750 | 225 | 3.4615 | 0.28889 | 75 | 259.6154 | 1009.6154 | 1009.6154
33 |  | Fire Alarm Annunciator Panel | 1 | 0% | 1 | EA | 650 | 650 | 245 | 3.7692 | 0.26531 | 75 | 282.6923 | 932.6923 | 932.6923
34 |  | Photo Electric Smoke Detector | 10 | 0% | 10 | EA | 275 | 2750 | 150 | 23.0769 | 0.43333 | 75 | 1730.7692 | 4480.7692 | 448.0769
35 |  | 30cd Horn / Strobe, 520 Hz | 1 | 0% | 1 | EA | 170 | 170 | 120 | 1.8462 | 0.54167 | 75 | 138.4615 | 308.4615 | 308.4615
36 |  | 75cd Horn / Strobe, 520 Hz | 1 | 0% | 1 | EA | 210 | 210 | 145 | 2.2308 | 0.44828 | 75 | 167.3077 | 377.3077 | 377.3077
37 |  | Starlink Communicator Panel, WBFD Approved | 1 | 0% | 1 | EA | 1200 | 1200 | 500 | 7.6923 | 0.13 | 75 | 576.9231 | 1776.9231 | 1776.9231
38 |  | FACP, Fire Alarm Control Panel | 1 | 0% | 1 | EA | 1500 | 1500 | 800 | 12.3077 | 0.08125 | 75 | 923.0769 | 2423.0769 | 2423.0769
39 |  | Carbon Monoxide Detector | 1 | 0% | 1 | EA | 200 | 200 | 80 | 1.2308 | 0.8125 | 75 | 92.3077 | 292.3077 | 292.3077
40 |  | NAC, Notification Appliance Circuit Panel | 2 | 0% | 2 | EA | 1000 | 2000 | 440 | 13.5385 | 0.14773 | 75 | 1015.3846 | 3015.3846 | 1507.6923
| FA1 - FA3 | SECURITY DEVICES
41 |  | CR, Card Reader | 4 | 0% | 4 | EA | 275 | 1100 | 100 | 6.1538 | 0.65 | 75 | 461.5385 | 1561.5385 | 390.3846
42 |  | ES, Electric Strike | 4 | 0% | 4 | EA | 145 | 580 | 90 | 5.5385 | 0.72222 | 75 | 415.3846 | 995.3846 | 248.8462
NOTES FOR CLIENTS | [9 empty] | SUBTOTAL |  |  |  |  | 156441.098
THIS EXCEL STATEMENT IS EDITABLE AND CAN BE MODIFIED AS NEEDED.
GENERAL CONDITIONS
[10 empty] | OVERHEAD |  |  | 10% |  | 15644.1098
[10 empty] | PROFIT |  |  | 15% |  | 23466.1647
[10 empty] | INSURANCE |  |  | 0% |  | 0
[10 empty] | CONTINGENCY |  |  | 1% |  | 1564.411
197115.7835
[10 empty] | 1049.7725 | Total Man-hours
[10 empty] | 12 | Crew Size
[10 empty] | 10.9351 | Working Days
[10 empty] | 0.54676 | Months